## LSRII
BD SORP LSRII - Duke CFAR Analytical Flow Cytometry - Configuration Details
Laser | Detector Name_PMT | Long Pass Mirror | Band Pass Filter | Common Fluor | Other Fluors
488nm Blue laser, Solid State, 20mW | 488_710_50 | 685 | 710_50 | PerCP-Cy5.5 | PerCP, PerCP-eFluor 710
| 488_515_20 | 505 | 515_20 | FITC | Alexa488, BB515, GFP, Calcein
| 488 | 488 | ---- | Side Scatter (SSC)
532nm Green laser, Solid State, 150mW | 532_780_40 | 740 | 780_40 | PE-Cy7
| 532_710_50 | 690 | 710_50 | PE-Cy5.5 | PE-Alexa700
| 532_660_40 | 640 | 660_40 | PE-Cy5
| 532_610_20 | 600 | 610_20 | PE-Texas Red | Alexa610, ECD, PE-CF594, PE-Dazzle594, Tri-Color
| 532_575_25 | ---- | 575_25 | PE | A546
405nm Violet laser, Diode, 50mW | 405_780_60 | 755 | 780_60 | BV786 | BV785, Qdot 800
| 405_710_50 | 670 | 710_50 | BV711
| 405_660_20 | 630 | 660_20 | BV650 | QDot650
| 405_610_20 | 595 | 610_20 | BV605 | QDot605
| 405_585_42 | 570 | 585_42 | BV570 | Yellow Amine (yAmine)
| 405_559_40 | 535 | 559_40 | Qdot 545 | PacOrange, Krome Orange
| 405_515_20 | 505 | 515_20 | BV510 | Aqua Amine (aAmine), AmCyan, V500
| 405_450_50 | ---- | 450_50 | BV421 | Cascade Blue, PacBlue, Violet Amine (vAmine), Alexa405, V450, VioBlue
633nm Red laser, Diode, 17mW | 640_780_60 | 740 | 780_60 | APC-Cy7 | APC-H750, Alexa750, APC-Alexa750, APC-eFluor780, near IR Amine
| 640_710_50 | 685 | 710_50 | Alexa700 | Alexa680, APC-R700
| 640_660_20 | ---- | 660_20 | APC | Alexa647, eFluor660, far red Amine
Diode |  |  |  | Forward Scatter (FSC)
Many other reagents can be used on this machine - Please contact the facility staff/Website
rev 10/29/2014 (JE)